Electrical Work Plan
(Reference ES&H Bulletin 68A. Attach additional pages as needed)
Job Name:
   MCOR System Replacement, Test and Repair

Location:
   B118 From Rack B118-38 to Rack B118-46

Effective Dates Of Plan -  Start:
   01/24/2005

End:
   01/23/2006

Work To Be Performed By:
  
Fernando Rafael, Greg Johnson and Critt Taylor

Person In Charge:   Fernando Rafael

Phone:
   x4607

Description Of Work:
Troubleshoot, replace MCOR Modules in MCOR system and if necessary repair the modules.
Using IM-444-640-00-R0 MCOR 30 Technical Manual
Associated Hazards (e.g. voltage, current, etc.):
Up to 80 Vdc and 180 A bulk Power Supply
Hazard Mitigation (e.g. specific PPE, barriers, etc):
Lock Out the system using appropriate ELP Procedure.
Use PPE:
· Hazard Risk Category 0 clothing, non-melting, flammable materials, (i.e. untreated cotton, wool, rayon, or silk, or blends of these materials) Shirt (long sleeve), pants (long), closed toe work shoes.

· Electrical safety glasses/goggles w/UV Protection
Inspection Required After Work?  -  Yes
 
 
No 


(Required for New Installations.)
Originator:
Fernando Rafael

Date:
   01/23/2005

Approvals As Required By Bulletin 68a (Sign, print name and title, and date):

Participants (All workers to read, sign, print name and date): 
November 12, 2004
SLAC-I-730-0A11R-002
Electrical Work Plan, Page 1 of 1

