[image: image1.emf]



SSRL Sample Holder Request for Approval

Proposal #           Date: 



Beamline: 
Contact: 
PI: 




Application Review On:
Information on radioactive samples

1. Total sample matrix, weight, and dimensions.

2. The amount (weight) of each radioactive isotope in the sample.


3. A detailed description of the sample containment.

4. Any data on integrity of the sample, the sample holder, and containment under the expected experiment conditions (e.g., heating, cooling, pressure, etc.)

5. Special training requirements, in reference to handling, accountability, transport, etc. of the samples.  (The SLAC-SSRL requires a minimum of Radioactive Worker 1 (ESH) training for all experiment participants that will handle the contained samples. Rad Worker 1 training from other DOE facilities is transferrable to SLAC.  An SLAC- SSRL site-specific practical training will be required at the start of the experiment.)

6. Exposure readings from the sample at contact and at 30 cm, with a description of the instruments used to perform the measurements.

7. Approximate beam size and flux on sample.

8. Beam type (Mono/Pink/White).

9. Beam energies if Mono or ID gap if pink/white.

10. Energy cutoff if pink beam.
