CRISIS MANAGEMENT PLAN

# Table of Contents

| SECTION 1 | General |  |
| --- | --- | --- |
| SECTION 2 | Preparing for a Crisis |  |
| SECTION 3 | Event Responses |  |
|  | 3a | Bomb Threats |
|  | 3b | Building Collapse/Failure |
|  | 3c | Building Shutdown |
|  | 3d | Environmental Crisis |
|  | 3e | Fatalities/Serious Injuries |
|  | 3f | Fire |
|  | 3g | Labor Dispute |
|  | 3h | Severe Weather |
|  | 3i | Terrorist Threats |
|  | 3j | Workplace Violence |
| SECTION 4 | Media Management |  |
| SECTION 5 | Project Toolkit |  |
|  | 5a | Crisis Preparedness |
|  | 5b | Emergency Phone Lists |
|  | 5c | Event Response Checklists (For each event type) |
|  | 5d | Media Management Checklist |

Section 1: General

### Turner’s Crisis Management Plan provides an outline of actions that must be taken to prepare for a crisis and response.  The plan defines the action steps necessary and the responsibility assigned for such actions.  A crisis is any event that has created and/or may still pose an immediate threat to life, property or business as usual.  This may occur at a jobsite, a Business Unit office or other locations related to our business.

# Such situations may include, but are not limited to:

# Incidents involving serious bodily harm and/or deaths, or physical damages

# Bomb threats, terrorist attacks

# Collapse of a building or portion of a building or tunnel.

# Earthquake, hurricane, tornado

# Fire/explosion

# Equipment failure such as the collapse of a crane

# Workplace violence

# Environmental exposures

### All Turner staff must be familiar with the specifics of this plan outline and the responsibilities of each staff member to minimize/avoid loss exposures.  This plan is intended to provide direction to Turner management teams but may not address all potential events that may be encountered.  This document was prepared under the direction of legal counsel and therefore, is privileged and confidential to the Turner organization.

The extent of actions required will be dictated by the severity of the event. Timely and sound judgment is essential to the success of any crisis management plan.  It is critical that information about the event be quickly communicated up the chain of management for their involvement in further actions and maintenance of relationships with clients, communities and all involved parties.

The key to success in loss avoidance during and after an unanticipated event rests with the team’s knowledge and preparedness for such an event.  In addition to a pre-crisis checklist, this plan provides immediate action responses, specific information regarding catastrophic incidents, fatalities, fire, bomb threats, workplace violence and severe weather.  Action checklists and sample emergency telephone lists are also included. (These can also be found on TKN(Turner Employee on-line resource )/Documents/Safety/Crisis Management.)

Turner is committed to the development of a culture that promotes an Injury Free Environment and provides the safest workplace possible for our employees, contractors, clients and the communities in which we work.  Therefore, it is our hope that these comprehensive crisis management plans never need to be utilized on a Turner project site or at a Turner office.

Section 2: Preparing for a Crisis

The key to success in handling a crisis situation is prior preparation, organization and rehearsal/practice.  Reference should be made to the Crisis Preparedness Checklist and Emergency Phone List Templates in Section 5.

Project/Office Action Team

Each project and office must have predetermined Action Teams that are ready to react to any crisis situation. Staff at all projects and offices must be familiar with this Crisis Management Plan.  A specific training program must be implemented and reviewed/updated periodically.  Reviews should take place annually, at a minimum, and more frequently in the case of large and/or more complex site/office conditions.

At the start of every project, Action Team(s) must be established and ready to respond to a crisis.  This can and often should involve subcontractor staff.  Responsibilities should be assigned that include:

- First aid/CPR

- Police/Fire departments contacts

- Monitoring National Oceanic Atmospheric Administration weather in the event of storms or other severe weather event

- Traffic control/gate security

- Securing the incident site

- Phone monitoring

- Media escort (to guide media representatives to a predetermined media location)

- Power/water/gas shutdown and control

- Securing equipment

- Incident Investigation coordination including capturing investigation detail in writing and photos were appropriate (Incident Investigation protocol and forms in TKN/Safety)

There are many parties outside your Project/Office Action Team that need to be consulted in the development of your Crisis Action Plan.  These may include:

- Fire/Police departments/ambulance services

- Owner

- Specialty subcontractors (electrical, HVAC/plumbing, fire protection, etc.)

- Adjacent buildings and the building managers and/or security personnel

- Highway departments

- Hospital/local medical facilities

- City/county departments

- Utility companies (power, water, gas)

- Insurance carrier(s)

- Other local authorities (Office of Energy Management, Department of Design and Construction, etc.)

- Security consultants

- Crisis counselors

Business Unit Crisis Team

Each Business Unit must establish a “Crisis Team” to react to necessary management of the crisis.  This team should include:

- General Manager(Kevin Antonelli)

- Operations Manager(Kavinder Singh)

- Business Unit Safety Director and Business Unit Claims Coordinator

- Regional Safety Director and Regional Claims Manager

- Turner Casualty & Surety Representative

- Insurance carrier(s) representative

- Local counsel (as identified by Turner Casualty & Surety)

The Business Unit Operations Manager shall be responsible for establishment of this team, listing of required information and confirmation with each team member of their duties and responsibilities to the team.  It is critical to collect and have readily available all pertinent office, mobile and home numbers in order to communicate quickly. Back-up individuals for each team member should also be identified.  This information is to be updated quarterly and is to be reviewed at the quarterly Business Unit claims review meeting with the insurance carrier(s). This information should also be available at all projects/offices.

The function of this team is to provide overall management of the crisis; guidance to the Project/Office Action Teams and to ensure necessary communication and coordination is in place between the Turner Business Unit, Turner Casualty & Surety, insurance carriers and counsel.  In many instances it may be important to involve legal counsel early to establish “privileged” communications.

This team will also determine the need for and engage necessary consultants (structural, environmental, critical incident stress counselors, etc.) as required.  This team should engage such consultants early on so they are prepared and ready to react quickly in the event of a crisis situation. This team will also coordinate all release of information. This will include coordination with the Owner and other entities involved in the project. This team will coordinate all potential medial communication with Turner’s Corporate Public Relations Department.

Practice

Drills are the best way to train staff and determine when unexpected difficulties might be encountered.  Fire evacuation may be simple for the Business Unit office or project office, but very complex for large projects.  Staff will be more comfortable with these crisis guidelines, and perform better under duress, if they have had the opportunity to run through these procedures during normal operating conditions.  Make sure that liaison contacts are included in dry runs. Training is to be conducted at the start of every project and semi-annually thereafter.

Section 3: Event Response Plans

First Hour Response

Several immediate and simultaneous actions must take place during a crisis regardless of the type of event. These actions should be directed by the Project Superintendent or, in his/her absence, the Project Safety Coordinator or the senior staff member at the location. In all cases, immediate notification must be made to your Business Unit Crisis Team, SLAC Crisis Team at

(650) 926-2551 and the 1-800 National Crisis Number at 1 (800) 388-7637.  This number is operational 24 hours a day, 7 days a week.

First hour actions include:

- Protect the injured worker(s) and administer CPR/first aid

First Aid Team Members: (Primary) Matt Zybura & (Secondary) Richard Needham

If the injured worker(s) is in immediate danger, action must be taken to eliminate the danger and/or move the injured person from danger. Secure the area to eliminate/reduce exposure of others to possible hazards.

Render first aid to the injured. All projects should have a predetermined project CPR/First Aid Team developed by the Superintendent at job start up who shall respond to the victim(s) with the basic first aid equipment. This team shall stay with the victim(s) until the emergency medical response team arrives and takes over.

Ensure inquiries are always made as to where the injured individuals are being taken and necessary communication must be made to medical providers related to Turner’s post-incident Drug & Alcohol testing protocol.

- Summon emergency help

Call 9-9-1-1 from a SLAC phone and 9-1-1 from a cell phone and advise of the type of incident, injuries and number of injured and location of incident.

Be familiar with the police representatives who are responsible for your area. Some emergency situations, such as bomb threats, require special reporting practices. You must review with your local police department and/or fire department the proper way to notify them.

- Account for all personnel

Refer to Cal/osha Section 3220 Emergency Action Plan.  In the event of a crisis, it should be determined if evacuation is required. If so, the prearranged emergency warning system will be sounded and the project or office evacuated in an orderly manner to the prearranged meeting place outside the project. All personnel must be accounted for by their

respective supervisors. If it is determined that the office or project will be shut down for the day, everyone must be accounted for and instructions given as to start time the next day. Keep in mind that police and fire will want to know who was in the building at the time of the emergency.

The senior Turner site manager (Nick Tyler) should be prepared to provide a workforce personnel incident de-brief prior to personnel leaving the job site. Any top-line details related to the incident should be provided to minimize the spread of rumors as well as directions on handling media inquires. Employees should be directed to contact their families immediately to communicate their personal condition.

- Secure the jobsite

A “gatekeeper” who controls access to the location must be designated as part of the project/office Action Team. Do not allow anyone except authorized personnel to go into the building.  All visitors should be escorted from the building, but remain available for questioning.

Evidence should not be moved or altered in any way.  Destruction of evidence due to the company’s failure to secure the site could play a role in determining liability. Steps should be taken to lock up, guard, or photograph any items of crucial evidence.

5	Immediately notify:

- Business Unit Safety Director, who will notify his/her Regional Safety Director, SLAC Crisis Team at (650) 926-2551 Director of Public Relations and notify Cal/osha if circumstances warrant

- Business Unit Claim Coordinator, who will notify his/her Regional Claim Manager

- Subcontractors as appropriate

- Project Executive

- Business Unit General Manager

- Operations Manager, who will notify his/her National Operations contact

- Turner Casualty & Surety

- Insurance carrier(s), if circumstances warrant

- Owner, who will notify his insurance carrier

Follow-up Actions

Meet with emergency personnel

A representative of Turner or another responsible party must meet with the responding emergency department and advise them of the emergency situation and layout of the site. Turner, with the help of the subcontractors, will secure the site to bar entry of other vehicles. Any vehicles hindering access from the street must be removed immediately. Predetermined Turner and subcontractor staff shall assist the security personnel and remain stationed at assigned locations until relieved or advised by the Turner Superintendent that they are no longer needed. Have a list prepared to share with authorities of all hazardous chemicals and flammables as well as their locations.

Perform incident investigation

The Business Unit’s Safety Director and the Business Unit Claim Coordinator will set up and organize an appropriate team to preserve evidence, identify all witnesses and initiate proper incident investigation. The Director shall do so in close coordination with the Operations Manager, insurance carrier(s), and representatives of Cal/OSHA and other involved public agencies (e.g. police, fire).

Accompany the OSHA investigator

If Cal/osha investigates the incident, a Turner staff member and the Business Unit Safety Director, if available, must accompany the Cal/osha Representative(s) to assure they receive accurate, correct information and benefit from our knowledge of the incident.

#### Post Incident Evaluation and Review

The BU/Action Team should conduct a post-incident evaluation/review and any lessons learned should be updated in the plan and disseminated to the team.

##### Addition Support Resources

Business Unit Crisis Team

Each Business Unit must establish a “Crisis Team” to assist in the overall management of the crisis, as outlined in Section 2.  This team will ensure local management teams receive the necessary support to effectively manage all events related to any crisis.  The Business Unit Operations Manager shall be responsible for establishment of this team, listing of required information and confirmation with each team member of their duties and responsibilities. The Business Unit team will provide guidance to the Project/Office Action Team and ensure necessary communication and coordination between the Business Unit, Turner Casualty & Surety and outside parties.

National “Go Team”

Turner has implemented a National “Go Team” that may, depending on the severity of the crisis situation, be sent to the crisis location to assist the local Project/Office Action Team and the Business Unit Crisis Team.  The determination to send the “Go Team” will be made by the SVP, Operations, Corporate Director of Safety and the National Manager of Claims.  The “Go Team” is comprised of experts from various functions including:

- Operations

- Safety

- Claims

- Legal

- Public Relations/Communications

The team has developed a pre-determined list of subject matter experts that may be deployed to provide specific support to the Project/Office Action Team.  It is imperative that Turner deploys its very best resources during a crisis to ensure the best possible outcome.

###### Specific Event Response

While the initial response for many types of crisis events are the same, specific event response plans need to be developed to avoid time lost in figuring out what to do, how to organize, what resources are needed, etc. For such contingencies, Turner needs pre-coordinated response plans that can be initiated by Project/Office Action Teams, Business Unit Teams and National “Go Teams” upon notification that an event has occurred. Further, they will need extensive pre-coordination across all of the services (fire, police, ambulance, etc.), jurisdictions (county, state, city, etc.), and Turner teams that could be called upon to respond.

While we cannot plan for hundreds of different contingencies we can develop specific event response plans with sufficient precision that all the necessary response functions are identified. Each Business Unit crisis team should review the following specific event responses and prepare their crisis management plans in accordance with the outlines following. Accordingly, you should follow the steps outlined in the First Hour Response for any of the events following. In all cases, immediate notification must be made to your Business Unit Crisis Team, SLAC Crisis Team at (650) 926-2551 and the 1-800 National Crisis Number at 1 (800) 3388-7637.  This number is operational 24 hours a day, 7 days a week.

A.  Bomb Threats

If you receive a bomb threat contact the local police department immediately. Certain projects may have other notification requirements to federal agencies; for example, airport projects are likely required to notify the FAA.  It is the policy of Turner that no employee or trade contractor employee will be allowed to participate in a bomb search. Follow steps three through five in the First Hour Response, Section 3, Pages 4 and 5.

Upon evaluation, should it be determined an evacuation is warranted:

- The prearranged emergency warning system should be sounded

- The project site should be evacuated in an orderly manner in accordance with emergency evacuation procedures.

The Project Manager or Project Executive are the only persons that can direct employees to return to work and only after a search of the building has been completed by law enforcement personnel or qualified representatives of the owner and one hour after the indicated bomb threat time has passed. Reference should be made to the Bomb Threat Report in Section 5.

B.  Building Collapse / Failure

A building collapse or failure can take many forms, from a partial wall collapse to an entire structural failure. The most important activities after such an occurrence are outlined in the First Hour Response element of this program. These actions should be directed by the Project Superintendent or, in his/her absence, the Project Safety Coordinator or senior staff member at the location.

- Immediately render first aid to the injured. All projects must have a predetermined First Aid/CPR Team to respond to such needs.

- Utilize proper care and discretion to ensure others are not placed at risk. For example, do not rush into a collapsed building without ensuring the immediate area is safe.  Call

9-911 immediately to summon emergency help.

Account for all jobsite personnel and implement the site’s evacuation procedures if so warranted.

- The prearranged emergency warning system should be sounded.

- The project or office should be evacuated in an orderly manner to the prearranged meeting place.  The respective supervisors must account for all personnel.

- Secure the jobsite to prohibit access to the location.

C.  Building Shutdown

The decision on whether a Business Unit or project site should be shut down and all workers asked to leave the premises will be determined by the nature and seriousness of the incident. The General Manager and Operations Manager in the Business Unit and the Project Manager or senior staff member at the project site will make this decision.

In the event of a shut down of a Business Unit office, the crisis management team should immediately:

- Ensure that all personnel are accounted for and have left the building.

- Station security outside to make sure no one re-enters the building until instructed to do so by the General Manager and the Operations Manager.

- Close and monitor all gates, except the main gate, as indicated above.

- Deny all unauthorized persons access to the site, including the news media. (Reference Section 4 for particular actions regarding the news media.) All unauthorized persons found on the site will be escorted off the premises.

- Notify the owner’s representative.

D.  Environmental Crisis

An environmental crisis occurs when a chemical release or spill, or water spill or discharge 1) threatens the environment, 2) negatively impacts community/owner relations, 3) creates regulatory intervention or 4) creates media attention.

Emergency Spill Response

The first person responding to an emergency spill should immediately notify the Project Superintendent, or Project Safety Coordinator or senior staff member. If it is safe to do so the first person responding to an emergency spill should immediately, after notifying personnel listed above, take the following actions:

- Stop the source of the spill.

- Report the spill to his supervisor or make sure someone else does.

- If the spilled material is flammable, eliminate ignition sources.

- Protect storm drains, floor drains, and sink drains, if necessary.

- Dial 9-911 for assistance from the PAFD.

- State that the emergency is at SLAC.

- Describe the spill, including:

  - Location of the spill.

  - Identify the spilled material, if known.

  - Approximate size of the spill.

  - Whether there is fire or explosion, and extent of any injuries.

  - Source of the spill, if known.

  - Extent of environmental contamination.

  - When the spill occurred, if known.

  - Whether or not the spill is contained.

  - Give your name, location, and telephone number.

  - Remain on the phone until the emergency dispatcher instructs you to hang up.

- Contain the spill by surrounding the perimeter of the spill with containment material such as absorbent pads and berms.

- Cordon off the area.

- Remain in the area to direct emergency personnel to the scene.

- Provide information to emergency personnel.

- Follow the instructions of the PAFD and other responding emergency personnel.

Caution! Do not attempt to clean up an emergency spill unless you have been trained to do so.

Spill Clean Up

Spills are generally cleaned up by the organization responsible for the spill.  SLAC may wish to be involved in the clean-up if they are concerned that their facilities are at risk.  Unless the FD instructs you otherwise clean up spill by taking the following actions:

- Request a hazardous waste container from SLAC.

- Wear appropriate PPE.

- Clean up the spill according to the Material Safety Data Sheet (MSDS) and any instructions provided by SLAC or the PAFD.

- Place the spilled material and any absorbent material in a hazardous waste container.

- Call LCLS for container pick-up and disposal.

- Decontaminate spill equipment according to the manufacturer’s specifications.

- Restock cleanup supplies.

Minor spills are considered to be one gallon or less of any POL (petroleum, oil, lubricant).  In the event of a minor incident, the following actions will take place:

- Turner Project Safety Manager notified.

- SLAC Project Manager notified.

- Contact and coordinate with SLAC waste management for the delivery and pick up of hazardous waste drums.

- The Subcontractor responsible for the incident is instructed to have qualified person clean up the material.

- Reporting of any spill to authorities, if required, will be the responsibility of the owner.

In addition to the above activities, in the advent of a major spill such as a broken fueling line or valve failure on a fuel truck, a dirt berm of sufficient size to contain the spill will be put around the affected area.

Reference should be made to the Environmental Crisis Checklist in Section 5.

E.  Fatalities/Serious Injuries

A job fatality, serious injury or other such catastrophic incident, sets off a chain of events involving the safety, legal, insurance, communication departments, and other entities. The crisis management team should immediately:

- Direct attention toward immediate aid to the injured

- Eliminate further risk to others

- Seal off the area for later inspection

- Control access to the incident location

- Secure witnesses

- Contact BU Crisis Team, Claims Coordinator and Business Unit safety Director

- Deny all unauthorized persons access to the site, including the news media. (Reference Section 4 for particular actions regarding the news media.) All unauthorized persons found on the site will be escorted off the premises.

Important: Notification

In the event of a severe injury or death on a Turner worksite, notification must be handled very carefully and properly:

- Turner employee family members: Together, the Business Unit General Manager and Operations Manager will notify the family.

- Subcontractor employee family members: The subcontractor will notify the family. (This plan assumes that each subcontractor has its own program for notification by its management of next of kin and other necessary parties.)

- Cal/osha, SLAC Crisis Team: The Business Unit Safety Director will notify the local area office.

The Operations Manager will decide as to whether the project site should be shut down and all workers asked to leave the premises. This is determined by the nature and seriousness of the incident. Reference should be made to the Fatality/Serious Injury Checklist in Section 5.

F.  Fire

Risk of fire during building construction is always a consideration usually because of the lack of fire-fighting facilities, the presence of combustible material and potential lack of control of heat sources. The proper design and use of fire resistant materials is necessary in both permanent and temporary work.  The use of electrical tools, oxygen, acetylene, flammable gases, welding equipment, gasoline and combustible materials on projects must be managed appropriately to minimize fire risks.

The planning of general fire prevention is the responsibility of the Superintendent on a project.

- Suitable fire-fighting equipment must be readily available at all times.

- Employees should be trained in basic fire prevention techniques and be able to respond accordingly.

- If the Owner has existing fire extinguishing facilities it may be possible to make arrangements for their use.

Once the fire equipment is set up, the Superintendent should assign its maintenance to certain responsible members of the staff.  The Superintendent should weekly check the availability and condition of equipment, assess possibilities of new risks, and reassign responsibilities as staff changes occur. The Turner Safety, Health, and Environmental Policy should be referenced when developing Business Unit or site-specific fire prevention plans. Offices should follow the building management or building security protocol and plan. This plan should be reviewed with all personnel. In the event of a fire the Palo Alto Fire Department will be notified.

Reference should be made to the Fire Checklist in Section 5.

G. Labor Disputes

Labor Disputes may disrupt project progress and present personnel risks that must be managed accordingly. The Project Manager or senior staff member at the site should determine the nature of the dispute or picketing by questions to Labor Representatives and/or Subcontractors. Immediately contact Project Executive and Operations Manager advising of issue and to seek legal counsel.  Do not engage in confrontational discussion, physical contact or offer opinions on the nature of the dispute.

A project site staff member or Security guard should monitor the location with a communication device and immediate contact Project Manager if any activity presents threat to personnel or site. Contact the local police if the dispute is un-restful and/or disorderly.  For procedures in establishing a “Dual Gate” system, signage requirements and appropriate notices, see Operations Resource Drive on TKN. Only officers of the company should ever respond to media inquires. Reference should be made to the Labor Dispute Checklist in Section 5.

H.  Severe Weather/Natural Disasters

A severe weather plan and team with assigned responsibility is necessary in case of earthquake, tornado, flooding, or other acts of God. Each Business Unit and your specific project may require additional efforts to be ready for a severe weather event.

Additional responsibilities include:

- Complete the Turner personnel telephone list at the beginning of each project and continue to update as the project staff changes.

- Review project specific plans with the Owner and subcontractors at the beginning of each job.

- Review the overall Business Unit plan with all employees once a year.

- Review the checklist items included at the end of this plan.

- After a severe weather incident, a debriefing should take place and the plan should be reviewed and revised based on the feedback from the team on what went well and what needs improvement.

The Operations Manager shall be involved in project shutdowns and post project inspections with the Owners. Additionally, if a severe weather event affects a Business Unit office, a temporary office may be set up in a location that will allow operations to continue.

Reference should be made to the Severe Weather Checklist in Section 5.

I.  Terrorist Threats

Consideration must be made to your location’s exposure to potential acts of terrorism. Things to consider include the tenants of the building in which you occupy or are working in, the proximity of your site to high risk buildings such as:

- Government buildings

- Airports

- Religious institutions

- Criminal detention facilities

- Densely populated buildings

- Local or national landmarks

- “Trophy” buildings,

While you may not be able to pre-plan all potential threats, conducting a location specific risk assessment and planning accordingly is your best defense.

All projects should maintain the security of the site and manage the access of visitors to control unauthorized personnel from entering property that Turner controls.  It is very important that site personnel know what subcontractors are working on Turner sites.  The office must maintain a visitor sign-in log and implement a visitor badge program.

Turner employees who handle the receipt and distribution of mail and other packages must be very diligent about any suspicious packages.   Special attention should be made for any packages without return addresses or are moist, bulging or otherwise distorted.  Your local police should be immediately notified of any suspicious mail or packages. Notification should also be made to your Business Unit Crisis Team. Reference should be made to the Terrorist Checklist in Section 5.

J.  Workplace Violence

If a workplace violence report is made, the assigned Turner representative will:

- Conduct a brief preliminary interview of the employee(s) who reported the allegation to determine the details of the incident.

- Question employees who have been identified by the alleging employee as being involved in the incident.

- Assess the situation for any ongoing threat or imminent danger to other employees.

- Remove the employee from the worksite and contain the situation.

- Contact law enforcement if warranted and if additional precautions are necessary to protect other workers.

Do not attempt to reason with someone who is wielding a weapon.  Call law enforcement immediately and evacuate the area as quickly as possible.  Notification should also be made to your Business Unit Crisis Team and your HR representative.  Reference should be made to the Workplace Violence Report in Section 5.

Section 4: Media Management

All inquiries by the news media need to be handled very carefully. Misinformation can create negative public perceptions and/or poor Owner relationships. All inquiries should be referred to the General Manager or Operations Manager and SLAC.

The two keys to successful crisis communications:

- Decisions have been made ahead of time and the plan is ready to implement at a moment’s notice.

- Turner is in control of the situation and messages, including cameras and video recorders.

It’s very important that only Company Officers are the spokespeople for Turner. Therefore, the General Manager or the Operations Manager and SLAC are the only ones who can deliver media statements. They have received special training and are the only ones authorized to grant media interviews. This includes informal media inquiries via phone.

The Business Unit Action Team will work with the Project/Office Action Team and will contact the Public Relations Department for necessary support, strategy and message development during a crisis. They will also coordinate release of information with the owner and other required entities. The Public Relations Department should be up to date on any and all past experiences where Turner received media attention and be prepared for any reporter that has investigated us in the past.

For the purposes of this crisis plan, here is a brief overview of what should happen before the media shows up on site, and even, ideally, before the crisis happens:

- Designate a safe area for the media.

Just like all other non-involved personnel, media representatives should not be allowed access to the incident location to maximize your control of the incident site and their safety. All media representatives should be politely directed to a common location where a designated company representative would provide them with factual information.

- Designate a media escort.

A media escort should be designated to escort the media to a safe place to wait for information and comment from the spokesperson. Everyone on the jobsite, including the Owner, subcontractors and employees, should know who the media spokesperson is and understand that no one but that designated person should talk to the media.

Depending on the incident, the location should be away from the immediate incident, preferably off-site, such as a meeting room at a local hotel or restaurant. A suitable on-site location may be possible, away from incident, in the Owner’s trailer, conference trailer, etc. The media should not meet in a Turner office facility. The area should be dry and as comfortable as possible with access to phones. Research possibilities beforehand so you have options to consider if an incident occurs.

Media representatives should be promised and receive regular updates, even if it’s confirmation of what they already know. Turner management has been trained in handling this.

- News Conferences.

Any news conference needs to be carefully staged and conducted by upper management as it offers an opportunity to establish the company's position.  A press kit (background materials) is very important.  This kit would include site drawings, renderings, technical information, graphs/charts, company background, project fact sheet, and any other relevant information you want to disseminate.  The Corporate Public Relations department as well as the General Manager and Operations Manager must approve all information disseminated.

Section 5: General

Turner Construction

Crisis Management Plan

Crisis Preparedness Checklist

Our level of preparedness for a crisis prior to its occurrence will determine the success of effectively managing such an event. All SLAC employees and TCCO personnel must clearly understand their roles.

Please ensure that following actions have been completed prior to start of the work:

- Project/Office Action Team has been developed and responsibility assigned for:

- First aid/CPR Team

- Police/Fire department contact

- Monitoring National Oceanic Atmospheric Administration weather

- Traffic control/gate security

- Securing the incident site and preserving incident evidence

- Ensuring all personnel are accounted for after an evacuation

- Power/water/gas shutdown and control

- Phone monitoring

- Media escort (to guide media to a pre-determined media location)

- Emergency Phone Lists complete for both Site Action Team & BU Crisis Team

- Site Action Team has been trained on project specific Crisis Plan and all crisis checklists

- A site specific evacuation plan has been developed and includes emergency warning system, pre-determined evacuation routes, meeting place and responsibility assigned for head count

- Identify a pre-determined command center that is equipped with dedicated phone line and other necessary equipment away from the site

- Site or office specific Crisis Plan has been reviewed with Police/Fire departments and all other relevant local authorities including a copy of the building plans with exit routes identified for each area

- Bomb Threat Incident form and communication procedure reviewed with receptionists and others likely to receive in-coming calls

- Practice drills are conducted at least semi-annually and at the start of the project

Turner Construction

Crisis Management Plan

Emergency Phone Lists

Project/Office Action Team

Our level of preparedness for a crisis will determine the success of effectively managing such an event. All project site employees and Business Unit personnel must clearly understand their roles. Crisis practice drills are to be conducted semi-annually for project sites and offices and at the start of every project.

| Role | Name | Work # | Mobile # | Home # |
| --- | --- | --- | --- | --- |
| Team Lead | Morgan Spaman |  | 650-444-1577 |  |
| Project Superintendent | Nick Tyler |  | 415-748-1335 |  |
| Turner Safety Notification | Morgan Spaman |  | 650-444-4924 |  |
| Turner Safety Manager | T. J. Lyons | 510-267-8110 | 510-292-6420 |  |
| Evacuation Head Count | Dan Driver |  | 650-926-5343 |  |
| Owner Notification | Mike Owens |  | 408-781-7177 |  |
| Spokesperson | Mike Owens |  | 408-781-7177 |  |
| Fire, Injury, Incident Notification | ERT | 911 | 911 |  |
| Traffic/Gate Control | SLAC Security | 926-2551 | 926-2551 |  |
| Turner Safety Manager | T. J. Lyons | 510-267-8110 | 510-292-6420 |  |
| Police Department |  | 911 |  |  |
| Fire Department |  | 911 |  |  |
| Electric Utility | SLAC Security | 926-2551 |  |  |
| Water Utility | SLAC Security | 926-2551 |  |  |
| Gas Utility | SLAC Security | 926-2551 |  |  |

Note: Each project and office must establish and post this Action Team emergency phone list at proper locations and include it in project safety program materials.

Turner Construction

Crisis Management Plan

Emergency Phone Lists

Business Unit Crisis Team

Our level of preparedness for a crisis will determine the success of effectively managing such an event. All project site employees and Business Unit personnel must clearly understand their roles. Crisis practice drills are to be conducted semi-annually for project sites and offices and at the start of every project.

| Role | Name | Work # | Mobile # | Home # |
| --- | --- | --- | --- | --- |
| General Manager | *Mike O’Brien | (510)267-8190 |  |  |
| Operations Manager | *Danny Cook | (510)267-8190 |  |  |
| Project Executive | Bill Jangraw | (408)595-2294 |  |  |
| Business Unit Safety Dir. | TJ Lyons | (510)267-8110 |  |  |
| Business Unit Claims | Marty Molloy | (510)267-8148 |  |  |
| Regional Safety Director | Guy Silvey | (206)255-8130 |  |  |
| Regional Claims Manager | Maria Moreno | (510)267-8113 |  |  |
| Corporate Safety Director | Dennis Falvey | (210)722-3800 |  |  |
| Corporate Claims Mgr. | Kevin King | (210)722-3800 |  |  |
| Corporate Ops. Manager | Ed McNeil | (407)210-2543 |  |  |
| Public Relations Director | Terry Kuflik | (212)229-6000 |  |  |
| Insurance Carrier(s) | Liberty Mutual | (510)292-6420 |  |  |

*Approved Spokesman

Note: Each project area and all project offices (sub contractors included) must establish a consistent location and post this Action Team emergency phone list and update as directed by TCCO

Turner Construction

Crisis Management Plan

Bomb Threat Incident Report

If you receive such a call, listen carefully to what is said.  Stay calm; alert someone within range that you are receiving a bomb threat.  Fill out as such as possible in the following sections.  When the caller hangs up – DO NOT HANG UP THE PHONE.  Notify a Project Action Team (PAT) member immediately and continue to fill in as much information as possible.

Who received call: ______________________________________ Date: _____________

Time (AM/PM): ______________ Location Call Received: _______________________

Origin of Call:  Local _______Long Distance ________Booth ________Internal________

Time Caller Hung Up: ___________________

THE CALLER:   (Try to hold caller on line and get all information possible)

Time Bomb Will Explode: __________ Kind of bomb: ___________________________

What Bomb Looks Like: ___________________________________________________

How it is activated: _______________________________________________________

Where is it Located: _______________________________________________________

(Building or Area)

Reason for Placing Bomb: __________________________________________________

Exact Words of Caller: _____________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

Caller's Name (if given): ______________________________ Male_____Female______

Voice:	Child ________Adult ________Approximate Age: _______

VOICE CHARACTERISTICS

Accent or Dialect:	Local  ______ Not Local  ______ Foreign  _______

Regional Characteristics:  ____________________ (specify) other: _______________ (specify)

Tone:	Loud  ___ Soft  ___ High Pitch  ___ Low Pitch  ___ Raspy  ___ Other  ___

Pleasant  ___ Rational  ___ Irrational  ___ Calm  ___ Angry  ___

Speech:	Coherent  ___ Incoherent  ___ Righteous  ___ Emotional  ___ Laughing ___ Fast  ___ Slow  ___ Distinct  ___ Distorted  ___ Stutter  ___	Nasal  ___

Language:	Excellent  ___ Good  ___ Fair  ___ Poor  ___ Cursing  ___

BACKGROUND NOISE

Factory Machines:			Office Machines:		 Bedlam:

Music: 				Mixed: 			Street Traffic:

Trains:					Animals: 			Voices:

Airplanes:				Party Atmosphere:

Quiet:

SPECIAL NOTE:	Did caller appear familiar with project site and building by his/her description of the bomb location?

________________________________________________________________________

SIGNATURE								DATE

Turner Construction

Crisis Management Plan

Environmental Crisis Checklist

Should a release of material occur that has the potential to harm people, property or the environment the following is a guide to your response:

- Dial 911 if someone has been injured or could be injured from the incident and call or have someone contact any Project Action Team (PAT) member by dialing (408) 640-6067

If there is no danger to you, provide and administer First Aid/CPR to any injured personnel to your level of training. If injured is in immediate danger, take action to eliminate danger and/or move the injured person from danger. FOLLOW NEXT PAGE FOR Fatalities/Serious Injuries.

- Gather as much information as possible about the type of material that may have been released (hydraulic oil from broken line), about how much is involved (two square feet on pavement) and what it might be affecting (storm drains, waterways etc.)

- Assess need for partial or full evacuation; evacuate if warranted. If needed, tell a member of the PAT.

- Summon emergency help

- Account for all personnel in the immediate area and potentially downwind of the site if warranted.

- If you can stop the release without endangering yourself – do so, otherwise secure the area to eliminate/reduce exposure for others.

- If possible, and you are trained to that level of expertise, shut off and/or contain the environmental hazard to avoid further exposure

- Place absorption material to contain spill or

- Cover drains to prevent storm water contamination or

- Valve off the gas leak

- Turn off all heat, spark or fire sources in the immediate area

- The owner will provide notification to governing agencies in regard to the spill. TCCO does not perform any remediation.

- Have a member of the PAT contact the Business Unit Safety Manager and Claims Coordinator as soon as possible during the event. They will determine the need to contact the National Crisis Team at 1 (866) 388-7637

Turner Construction

Crisis Management Plan

Fatalities/Serious Injuries

- If the area is safe, provide and administer First Aid/CPR to any injured personnel. Have someone call the Palo Alto EMS group at 911 if possible while providing aid

- Provide and administer First Aid/CPR to any injured personnel

- If injured is in immediate danger, take action to eliminate danger and/or move the injured person from danger

- Secure the area to eliminate/reduce exposure for others

- Notify the following representatives that the incident has occurred

David Saenz		LCLS 				650-926-2512

Mike Owens 	Senior Project Manager	408-781-7177

Nick Tyler    	Project Superintendent            415-748-1335

Kavinder Singh 	Operations Manager		510-407-9673

- Send designated team member to meet the police/fire/ambulance

- Find out immediately where the injured parties are being taken for treatment

- Secure the incident site to prevent unauthorized access and ensure the preservation of evidence

- Identify witnesses that need to be interviewed prior to anyone leaving the

- Contact your Business Unit Safety Manager (510-292-6420) and Claims Coordinator (510-292-5195) immediately. They may contact the national Crisis Team at 1 (866) 388-7637

- Begin a thorough investigation using sketches, photos to document events, positioning of people and equipment

- Coordinate communication with the families with TCS and San Jose Operations Staff

- In the case of a fatality and/or serious injury of a Turner employee, the Business Unit, General Manager and Operations Manager will be responsible to notify families in person

- If the incident involves a subcontractor’s employee, the subcontractor will notify the families

- Consideration must be taken relative to the immediate family’s needs. Provide what aid is appropriate like childcare, transportation, lodging near hospital etc.

- If the employee lives out of town and in-person notification is not possible, consider involving local police or a church to assist

- Always pre-plan your notification, being direct. Expect emotions

- If shutdown of the site is necessary, always conduct a personnel debrief prior to people leaving the site

Turner Construction

Crisis Management Plan

Response

- Fire in the dry season has been identified as an extremely high hazard for the project. Dry grass and eucalyptus trees are prevalent across the site and in working areas. In case of fire

- Provide and administer First Aid/CPR to any injured personnel. Have someone call 911 dispatch the Palo Alto Fire Department and EMS group and notify the Project Acton Team (PAT) by calling 408-640-6067

If injured is in immediate danger, take action to eliminate danger and/or move the injured person from danger

- Secure the  area to eliminate/reduce exposure for others. If possible, and prudent, attempt to suppress the fire.

- Send designated team member to meet the police/fire/ambulance to direct them to the portion of the project site or building involved.

- Assess the need for a partial or full evacuation; evacuate if warranted following the established gathering protocols.

- Never use hoists and/or elevators for an evacuation

- Account for all personnel

- Shut down all gas feeds and electrical power to the immediate area

- Consider the control of potential environmental exposures including chemical releases and storm water discharge contamination from fire fighting and smoke exposure to persons from burning poison oak or Oleander.

- Contact your Business Unit Safety Manager (510-292-6420) and Claims Coordinator (510-292-5195) immediately. They may contact the National Crisis Team at 1 (866) 388-7637

- The fire department will work with the PAT to assess if it is safe to re-enter the building.

Turner Construction

Crisis Management Plan

Labor Disputes (Pickets)

Our level of preparedness for a crisis will determine the success of effectively managing such an event. All project site employees and Business Unit personnel must clearly understand their roles. Crisis practice drills are to be conducted semi-annually for project sites and offices and at the start of every project.

Determine nature of dispute or picketing by questions to Labor Representative and/or Subcontractor(s).  Contact a Project action team member and alert them of the potential for a dispute or picketing.

- Contact Owner, Project Executive and Operation Manager advising of issue and seek legal counsel.

- Take pictures of the picket sign(s) or operation in dispute.

- Labor disputers and/or picketers are never to be allowed within a Turner site and must stay outside fencing at all times.

- Place Company Representative or Security Guard with communication devices to monitor the location.

- SLAC Security (926-2551) if dispute is un-restful and /or disorderly.

- For procedures in establishing a “Dual-Gate” system, signage requirements and appropriate notices, see Operations Resource Drive on TKN.

- Note: Gate Contamination-gate can be “contaminated” by employees (including Turner) entering and exiting the wrong gate.

For anticipated Long Running Disputes

- Meet with local police to discuss monitoring site access and emergency response protocol.

- Attempt to coordinate material deliveries outside of normal picket times.

Turner Construction

Crisis Management Plan

Severe Weather/Natural Disasters

Early notification of a severe weather alert is fundamental for success in these events. The TCCO office complex and local EMS will monitor for severe weather warnings using the NOAA Weather-Alert and local 911 notification systems.

- Ensure all site and SLAC personnel are aware of the potential of a severe weather event. Secure all cranes, including lowering mobile crane booms to the ground

- Assess the need for a partial or full evacuation; evacuate if warranted

- Shut off all power supplies, turn off all temporary water sources

- Secure/strap down all material, check all tie downs on office trailers

- If necessary, have appropriate de-watering equipment delivered to the site and secured

- Check all area and street storm sewer gratings to ensure they are free of debris and protected against runoff from the project

- If necessary have emergency generators delivered and secured

- Deliver all blueprints, permits, inspection logs and other critical documents to Turner’s main office or other secure site

- Back up all computers to main office

- Update and post site emergency telephone lists

- Broom clean project site and remove trash

- If appropriate, cover all windows and openings with plywood

- Secure all gates and enclosures

- Use mobile phones and establish a phone tree for project team communication by contacting the Project Action Team (PAT) group

- Conduct an employee and subcontractor debrief on possible work stoppage for the next day and where to call for information on restarting the work.

- Assign one Turner employee to monitor jobsite or office periodically and report any weather related emergencies to the Operations Manager, Claims Manager, Owner and Project Action Team.

- Assess the need for a partial or full evacuation; evacuate if warranted

- Account for all personnel

#### Specific Severe Weather Event Considerations

Earthquake:

- Place large or heavy objects (tools, material, equipment, etc.) on floor and away from openings

- In offices, hang heavy items such as pictures and mirrors away from chairs, couches and anywhere people sit

- Identify safe places in the building: against inside walls, away from windows where glass could shatter or where heavy objects could fall

- If outdoors, locate safe places in the open away from buildings, trees, telephone and electric lines, overpasses or elevated expressways

- Be prepared for aftershocks; these can often cause additional damage or bring weakened structures down

Tornado:

- Understand the difference between a “tornado watch,” which means that conditions are right for a tornado and a “tornado warning,” which means that a tornado has been sighted on radar

- Monitor weather conditions as necessary

- Designate an area in the building where all employees can go in the event of a tornado threat

- In the event of a tornado, Project action Team will sound tornado alarm system and direct all personnel to the pre-determined safe area

Turner Construction

Crisis Management Plan

Terrorist Threats

Our level of preparedness for a crisis will determine the success of effectively managing such an event. All project site employees and Business Unit personnel must clearly understand their roles. Crisis practice drills are to be conducted semi-annually and at the start of every project.

- Conduct a location Risk Assessment to assist in determining your location’s exposure to acts of terrorist threats.  Consider:

- The tenants of the building you occupy or are working in

- Your location’s proximity to government buildings, airports, religious institutions, criminal detention facilities or densely populated buildings

- Ensure you know what subcontractors are on site each day

- Maintain the security of the site; conduct a daily perimeter fence inspection

- Manage the access of visitors by maintaining a visitor sign-in log and mandate a visitor or badge program

- Employees that handle the receipt and distribution of mail should review the Mail Handling Guidelines

If a terrorist event occurs:

- Provide and administer First Aid/CPR to any injured personnel or visitors.  Contact or have someone call 911 for emergency services and site security at 926-2551

- If injured is in immediate danger, take action to eliminate danger and/or move the injured person from danger

- Secure the area to eliminate/reduce exposure for others

- Summon emergency help

- Send designated team member to meet the police/fire/ambulance

- Assess the need for a partial or full evacuation; evacuate if warranted

- Account for all personnel

- Cooperate fully with local authorities

- Contact your Business Unit Safety Manager and Claims Coordinator

- Contact the National Crisis Team at 1 (866) 388-7637

Turner Construction

Crisis Management Plan

Media Management

Our level of preparedness for a crisis will determine the success of effectively managing such an event. All project site employees and Business Unit personnel must clearly understand their roles. Crisis practice drills are to be conducted semi-annually and at the start of every project.

- Designate a pre-determined secure area for the media, away from the project site. This area should be comfortable (warm and dry) with access to phones.  The Site Turner office has been determined as the Press Gathering Area for the project.

- The media should not meet at a Turner office facility

- The designated media escort should meet the media and escort them to the secured area

- The Project/Office Action Team will work with the Business Unit Crisis Team and the Corporate Public Relations Department to coordinate media communications

- Only company officers are to speak with the media

- All communications must be short, concise and factual

- Always align your communications with the owner

- Do not share crisis plan with anyone other than authorized personnel

- Do not discuss procedures in detail with reporters and other outside parties

- Do not share building plans with unauthorized personnel including “college students” calling about a project

Turner Construction

Crisis Management Plan

Workplace Violence Incident Summary Report

This form is to be utilized to document any workplace violence.  The form should be forwarded to the Business Unit Safety Director and your Human Resources Representative

## Fax To Business Unit Safety Director _____________________________At: ________________________

Business Unit: __________________________Project: _________________________________________

Report Completed By: ___________________________________________________________________

Phone: ________________________________________ Date: __________________________________

## Name of Victim_________________________________________________________________________

| Type of Incident (Check one) | ( Threat ( Assault/Battery ( Robbery ( Other |
| --- | --- |
| Persons Involved (Note all individuals involved) |  |
| Exact Location of Incident (Indicate Project address, location on site, etc) |  |
| Time of Incident |  |
| Outside Emergency Assistance (check one) | ( Ambulance ( Police ( Fire ( Other |
| Detailed Description of Event: (Include weapons used and employee response) |  |
| Assets / Money Lost or Damaged |  |
| Corrective Management Action Plan |  |

# Text boxes

February 2006

Revision 1.1 (09/25/2006)

Revision 1.2 (10/15/2006)

Revision 1.3 (10/25/2006)

Revision 1.4 (10/30/2006)

Revision 1.5 (02/26/2007)

Revision 1.6 (04/12/2007)

Daily Pre-Task Planning

Job Safety Analysis/Area Hazard Analysis

SLAC/TCCO orientation (on-site)

Pre-Mobilization meeting With Sub. (On-site)

Sub-Contractor Safety Orientation (At Sub office)

Turner Establishes written plan

Communication of Crisis Management Plan to SubContractors