Noteworthy Practices = (NP):

- Use of fall protection by concrete subcontractor Conco (NP) at the NEH jobsite.

- General housekeeping continues to be excellent across all jobsites.

Rebar at walking level on upper walkway of job-built scaffold. Also toe-board not installed.  Conco indicated this was planned to be completed later this morning prior to personnel working.

(Ref. OSHA §1926.451(h)(1), mentions toeboards as a means of protecting employees from falling object hazards.)

BTH: wall forms in place for wall pour (approx. BTH Area 4)

Open cut in front of NEH – note Bldg. 3.1 shafts in background

NEH: Rod-busters finishing rebar work

# Text boxes

Name: J. Logan

Date: 5/21/07

LCLS Construction Safety Inspection Comments/Observations:

Site Work in-progress:

Work in-progress:

Research Yard: Preparation for wall pour in-progress (Conco). Mucking in-progress at UH Tunnel. UH tunnel advance at 236 feet (portal to heading)

NEH: Rebar being tied, and pumper on site for wall pour today.

PEP: No activity in-progress, workers checking haulers in preparation for operation.

Time: 7:00 AM

Date: 3/22/07

DOE/SSO LCLS Construction Safety Inspection Log

Identified Hazards:

Hazard identified on JSA

Hazard Controls in-place: Yes X    No ___

JSA Complete

Completed    Yes X      No ____

Completed for

Contractor  -- Permits approved

Yes X    No      N/A  excavation approved

Safety Process Observations:

- Observation Question only: noted uncapped rebar (upper level) at BTH, along with job-built scaffold w/o toe-boards – Conco indicated that they plan to cap and complete toe-boards today. (Question answered during walkthrough = OK)

Site Notes and Photographs

Safety Process Observations Follow-up (Previous Inspection)- all addressed

- Recommended to cap soil nails to mitigate potential for impalement/abrasion injury (OSHA subpart Q). Caps have been installed, per 5/21/07 e-mail – see photo at the end of this report. – Done, noted soil nails have been capped.