|  | SAFETY VIOLATION NOTICE |
| --- | --- |

To: OC McDonald                                                                                                              Date: 2-26-07

You have been found to be in violation of Turner Constructions safety policy. You are required to comply with all Turner Safety rules as well as state, federal and local law. This notice is to inform you that you must cease all operation until conditions or actions are corrected.

Description of Violation

It is a Turner Construction and OSHA policy that the use of a damaged or unsafe electrical cord is prohibited and any contractor found in violation of this policy is subject to a penalty. During working operations, O.C. McDonald was found in violation of Turner’s electrical cord policy. The electrical cord in use did not have a grounding prong on the switch lock adapter, showed stress at both ends of the cord and was not plugged into a GFCI.

Corrective Action Taken

TCCo superintendent and safety manager held a meeting with O.C. McDonald immediately after recognizing the electrical cord to discuss the danger of using a damaged electrical cord. O.C. McDonald is assigned with aiding in the development and implementation of the electrical cord inspection program. This will help O.C. McDonald better understand how to keep their workers safe from hazardous electrical conditions. The deadline for completing their assignment is 3-12-07.

Due to the nature of the hazard a fine of $300, $100 per violation, will be issued to O.C. McDonald.

Disciplinary Policy

Any person performing work on a Turner Construction jobsite is subject to the disciplinary policy. Tuner Construction is committed to providing a safe and healthful work environment. The policy is designed to hold each person accountable for his or her own safety and serve as a tool for safety rule enforcement. The policy is as follows:

1st Offense			written warning and fine

2nd Offense			Termination or Removal From Jobsite

CIRCLE THE APPROPRIATE LEVEL OF THIS VIOLATION.

Signature of Issuer: _________________________________________    Date: ________________

Title: _____________________________________________________