Baseline UV Generation, Spatial Profile Shaping and Transport (ANL/SLAC):

(Duration estimate 20 weeks without procurements & fab *)

Define scope of work - (conversion efficiency, intensity limit (damage?), spatial profile

shaping, extended relay tests, launch grating evaluations, 					   analysis & report)

(1 week)

*Procurements 	- uv conversion & wavelength separation unit (SLAC design)

(SLAC purchases)	- uv camera & imaging system

- relay optics

- uv profile flattener & spatial filter/telescope  & trimmer

- joulemeter (2) with 2 channel display

- uv launch grating

- time-slew measurement hardware

- uv splitters and mounts (3)

- ir splitter and mount (1)

- uv & ir ND filters sets (1 uv and 1 ir)

Baseline uv conversion tests	- set ‘ir’ pulse parameters (2 weeks)

- set up uv conversion unit with diagnostics (1 week)

- uv conversion tests and optimization (1 week)

- test higher intensities  (damage?) (1 week)

UV spatial profile shaping	- set up profile shaper assembly with diagnostics (2 weeks)

- profile shaping experiments	 (1week)

(efficiency, shapes, alignment issues, …)

- assess overall shaping capability(variation range)(1 week)

- extended relay test (ATF, efficiency, profile,…) (1 week)

UV Launching			- set up uv grating and beam configuration with diagnostics

( 0.5 week)

- measure absolute grating efficiency		(0.5 week)

- evaluate grating-imposed spatial anamorphism (1 week)

- evaluate grating-imposed time-slew		(1 week)

- test at higher intensity for grating damage effects (1 week)

Analysis & Final Report	- uv conversion efficiency analysis	     (total of 5 weeks)

- uv spatial profile shaping analysis

- uv relay capability analysis

- uv grating efficiency analysis

- uv grating anamorphism and time-slew analysis

- final report (to include higher intensity tests)

We anticipate some trips to ANL to discuss details and to assemble/align any unique diagnostics.