
FIB Fourier Transform Mask Parameter Table
Wednesday, March 30, 2005

Structure details: Structure details: Integrated 

multilayer with two reference holes

	Feature
	Radius  (μm)

	
	Target
	Actual

	Sample Aperture
	0.5
	D=950x926

	
	
	

	1st Reference aperture: top
	60nm
	D=182x187

	1st Reference aperture: bottom
	
	D=92x119

	2nd Reference aperture: top
	30nm
	D=150x154

	2nd Reference aperture: bottom
	
	D=100x63

	Center to center
	2500nm
	2400-2500nm


Metal Film Details:
	Front Side
	e4556s

	Back Side
	Metallica #7

	
	


Milling Details

	Milling Features
	Outer Radius (μm)
	Inner Radius (μm)
	Ion Beam Current(pA)
	Mag (kX)
	Mill time (s)
	Comments and Filenames

	 Sample 
	.55
	0
	15
	35
	19
	

	
	.5
	0
	15
	35
	2+2
	Still a little gold

	
	.45
	0
	15
	35
	2
	There is still a little fleck of gold that remains.  I don’t want to risk damage so I will leave it

	Re
	
	
	
	
	
	

	1st ref
	0.020
	0
	15
	65
	35
	

	2nd ref
	0.020
	0
	15
	65
	18
	

	
	
	
	
	
	
	C63_001_45_overview

	
	
	
	
	
	
	C63_002_r1

	
	
	
	
	
	
	C63_003_r2

	
	
	
	
	
	
	C63_004_sample_01

	
	
	
	
	
	
	C63_005_overview_1

	
	
	
	
	
	
	C63_006_overview_2

	
	
	
	
	
	
	C63_007_overview_3

	
	
	
	
	
	
	C63_008_pt_15kv_overview

	
	
	
	
	
	
	C63_009_pt_r1

	
	
	
	
	
	
	C63_010_pt_r2

	
	
	
	
	
	
	C63_011_pt_overivew

	
	
	
	
	
	
	

	
	
	
	
	
	
	



	Membrane Parameters

Size (μm)
	~125x75

	Thickness (nm)
	100

	Frame size( mm)
	5x5

	Frame thickness (μm)
	200


Dwell: 1.0 μs

Overlap: 50%

Name:  C63








Reference holes aren’t very round.  R1 is a little more round than R2 with is almost twice as long as it is wide.  It’s difficult to tell because the focus is hard to get and since I changed the stig the differences might not be exact.  











wschlott
Page 1
3/30/2005
E:\data\sample_processing_general\equipment_notes\FIB_guide\FIB_parameter_table.doc

