
FIB Fourier Transform Mask Parameter Table
Friday, April 22, 2005

Structure details: Magnetic coated nanospheres with two reference holes

	Feature
	Radius  (μm)

	
	Target
	Actual

	Sample Aperture
	0.5
	928x866

	
	
	

	1st Reference aperture: top
	60nm
	241x244

	1st Reference aperture: bottom
	
	182x100

	2nd Reference aperture: top
	30nm
	200x162

	2nd Reference aperture: bottom
	
	80x143nm

	Center to center
	2000nm
	1948 x 2015


Metal Film Details:
	Front Side
	110nm spheres first Konstanz coating see v6 p66

	Back Side
	Metallica #6

	
	


Milling Details

	Milling Features
	Outer Radius (μm)
	Inner Radius (μm)
	Ion Beam Current(pA)
	Mag (kX)
	Mill time (s)
	Comments and Filenames

	 Sample
	.55
	0
	18
	35
	15
	Some gold left

	
	.5
	
	18
	35
	2
	Sill some gold 

	
	.45
	
	18
	35
	2
	Looks clean going to zero tilt to see 

Still some gold left so back to tilt 

	
	.45
	0
	18
	35
	2
	Looks good again

	
	.43
	
	18
	35
	1
	Perfect!! 

	
	
	
	
	
	
	

	1st ref
	.020
	0
	18
	65
	45
	

	2nd
	0.020
	0
	18
	65
	15
	

	
	
	
	
	
	
	C67_001_tilt_overview

	
	
	
	
	
	
	C67_002_overview

	
	
	
	
	
	
	C67_003_r1

	
	
	
	
	
	
	C67_004_r2

	
	
	
	
	
	
	C67_005_sample

	
	
	
	
	
	
	C67_006_over_highcontrast

	
	
	
	
	
	
	C67_007_over_dist

	
	
	
	
	
	
	C67_008_chip

	
	
	
	
	
	
	C67_009_back_15kV overview

	
	
	
	
	
	
	C67_010_back_5_overivew

	
	
	
	
	
	
	C67_011_back_r1

C67_012_back_r2



	Membrane Parameters

Size (μm)
	~125x75

	Thickness (nm)
	100

	Frame size( mm)
	5x5

	Frame thickness (μm)
	200


Dwell: 1.0 μs

Overlap: 50%

Name:  C67








The ref holes were not really good circles, but they both penetrated and the sample has a nice distribution of spheres over the sample hole so it should be pretty good.











wschlott
Page 1
4/26/2005
Macintosh HD:Users:wschlott:Desktop:FIB_050422:C67_table.doc

