
FIB Double Pinholes for Coherence Test, Parameter Table

Wed, July, 7th, 2005
Structure details:  2000nm Au-Film on 100nm Nitridemembrane

	Feature
	Radius  (μm)

	
	Target
	Actual

	
	
	

	
	
	

	1st aperture: top
	150nm
	429x427

	1st aperture: bottom
	
	342x358

	2nd aperture: top
	150nm
	421x421

	2nd aperture: bottom
	
	345x356

	Center to center
	3000nm
	2913.1nm


Metal Film Details:
	Front Side
	

	Back Side
	Metallica #5+7

	
	


Milling Details

	Milling Features
	Outer Radius (μm)
	Inner Radius (μm)
	Ion Beam Current(pA)
	Mag (kX)
	Mill time (s)
	Comments and Filenames

	1.Terrace
	.5
	0
	10
	35
	30
	

	1.Terrace
	.6
	0
	10
	35
	20
	

	2x.Terrace
	.5
	0
	10
	35
	30
	At 90 deg (misplaced)

	2x.Terrace
	.6
	0
	10
	35
	20
	At 90 deg (misplaced)

	2.Terrace
	.5
	0
	10
	35
	30
	At 45 deg

	2.Terrace
	.6
	0
	10
	35
	20
	At 45 deg

	1.Pinhole
	.18
	0
	10
	35
	150
	

	2.Pinhole
	.18
	0
	10
	35
	150
	

	
	
	
	
	
	
	C71_tilt52_overview_01

	
	
	
	
	
	
	C71_twoholes_02

	
	
	
	
	
	
	C71_overview_03

	
	
	
	
	
	
	

	
	
	
	
	
	
	C71_twoholes_back_04

	
	
	
	
	
	
	C71_upper_hole_back_05 (abs rot not true) 

	
	
	
	
	
	
	C71_lower_hole_back_06 (abs rot not true)

	
	
	
	
	
	
	C71_absolute rotation_07

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	



Membrane Parameters

	Size (μm)
	~127x78

	Thickness (nm)
	100

	Frame size( mm)
	5x5

	Frame thickness (μm)
	200


Dwell: 1.0 μs

Overlap: 50%

Name:  C71








Three terraces were drilled.  One was accidentally drilled because the scan rotation was wrong.  Once that was corrected the proper terrace was made.





WFS v7 p13/15, RRv1p6  











wschlott
Page 1
7/8/2005
V:\SSRL\StohrGroup\Users\Schlotter_William\FIB\xray_mask\web_masks\C71\C71.doc

