
FIB Double Pinholes for Coherence Test, Parameter Table

Tue July 12th  2005

Structure details:  2000nm Au-Film on 100nm Nitride membrane

	Feature
	Radius  (μm)

	
	Target
	Actual (diameter)

	
	
	

	
	
	

	1st aperture: top
	150nm
	430x427nm

	1st aperture: bottom
	
	362x365

	2nd aperture: top
	150nm
	421x427nm

	2nd aperture: bottom
	
	359x362nm

	Center to center
	20,000nm
	19,760

19,888nm


Metal Film Details:
	Front Side
	nothing

	Back Side
	Metallica #5+7

	
	


Milling Details

	Milling Features
	Outer Radius (μm)
	Inner Radius (μm)
	Ion Beam Current(pA)
	Mag (kX)
	Mill time (s)
	Comments and Filenames

	Terrace
	.5
	0
	10 middle apperture
	35
	30
	45 Scan Rotation

	Terrace
	.6
	0
	10
	35
	30
	Check 10 pA

	Pinhole
	.18
	0
	10
	35
	180
	Right hole is first hole 

	
	
	
	
	
	
	

	2.Terrace
	.5
	0
	10
	35
	30
	

	2.Terrace
	.6
	0
	10
	35
	30
	

	2.Pinhole
	.18
	0
	10
	35
	180
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	C77_tilt_lower_01

	
	
	
	
	
	
	C77_tilt_02

	
	
	
	
	
	
	C77_upper_03

	
	
	
	
	
	
	C77_lower_04

	
	
	
	
	
	
	C77_overview_05

	
	
	
	
	
	
	C77_overview_06   (blob)

	
	
	
	
	
	
	C77_lower_back_07

	
	
	
	
	
	
	C77_upper_back_08

	
	
	
	
	
	
	C77_overview_back_09

	
	
	
	
	
	
	C77_overview_back_10

	
	
	
	
	
	
	



	Membrane Parameters

Size (μm)
	~127x78

	Thickness (nm)
	100

	Frame size( mm)
	5x5

	Frame thickness (μm)
	200


Dwell: 1.0 μs

Overlap: 50%

Name:  C77





Operator: Ramon


WFS v7 p26, RRv1p15





5micron Blob (suspected dust between gold and nitride)  











wschlott
Page 1
7/12/2005
E:\data\sample_processing_general\equipment_notes\FIB_guide\FIB_parameter_table.doc

