
FIB Fourier Transform Mask Parameter Table
[image: image1.jpg]



127x75 um window

Structure details: Structure details: Integrated 

multilayer with two reference holes

	Feature
	Radius  (μm)

	
	Target
	Actual

	Sample Aperture
	0.5
	D=964x890

	
	
	

	1st Reference aperture: top
	50nm
	D=230x230

	1st Reference aperture: bottom
	
	D=177x126

	2nd Reference aperture: top
	15nm
	D=168x120

	2nd Reference aperture: bottom
	
	D=31x97

	Center to center
	2000nm
	2000nm


Metal Film Details:
	Front Side
	e4974

	Back Side
	Metallica #9


Milling Details

	Milling Features
	Outer Radius (μm)
	Inner Radius (μm)
	Ion Beam Current(pA)
	Mag (kX)
	Mill time (s)
	Comments and Filenames

	 Sample 
	.55
	0
	7
	35
	22
	

	
	.5
	0
	7
	35
	2+2+2
	

	
	.45
	0
	7
	35
	2+2
	Looks clean as far as we can tell

	Refocused.
	
	
	
	
	
	

	1st ref
	0.020
	0
	7
	65
	35
	Looks big  but is circlar

	2nd ref
	0.020
	0
	7
	65
	4
	Looks nice, a little oval

	
	
	
	
	
	
	C82_001_tilt_45_overview

	
	
	
	
	
	
	C82_002_r1

	
	
	
	
	
	
	C82_003_r2

	
	
	
	
	
	
	C82_004_sample

	
	
	
	
	
	
	C82_005_sample_bright

	
	
	
	
	
	
	C82_006_overview_1

	
	
	
	
	
	
	C82_007_overview_2

	
	
	
	
	
	
	C82_008_overview_3  

	
	
	
	
	
	
	

	
	
	
	
	
	
	C82_010_pt_r1 real  (use real for 5kv)
(10kev)

	
	
	
	
	
	
	C82_011_pt_r2

	
	
	
	
	
	
	C82_012_pt_overview

	
	
	
	
	
	
	



	Membrane Parameters

Size (μm)
	125x75

	Thickness (nm)
	100

	Frame size( mm)
	5x5

	Frame thickness (μm)
	200


Dwell: 1.0 μs

Overlap: 50%

Name:  C82








We didn’t focus the ion beam much before we drilled the reference holes.   This may be why they are larger than expected.  It could also be that the contrast for these images was different.  As it turns out these did make it all the way through the nitride, however they are very oval so the stig must have been off. 





Also now that the film was tested on a sister sample and was found not to be perpendicular.











wschlott
Page 1
9/8/2005
E:\data\sample_processing_general\equipment_notes\FIB_guide\FIB_parameter_table.doc

