
[image: image1.jpg]



FIB Fourier Transform Mask Parameter Table
Saturday, September 3, 2005 

200x200 um window

Structure details: Structure details: Triple reference hole 

Structure for looking at bio-magnetic particles

	Feature
	Diameter  (μm)

	
	Target
	Actual

	Sample Aperture
	1.5
	D=1510

	
	
	

	1st Reference aperture: top
	50nm
	D=118x123

	1st Reference aperture: bottom
	
	D=87x40

	2nd Reference aperture: top
	50nm
	D=141x101

	2nd Reference aperture: bottom
	
	D=74x32

	3Rd Reference aperture: top
	50nm
	D=124x93

	3rd Reference aperture: bottom
	
	D=41x46

	
	
	


Metal Film Details:
	Front Side
	Bio-magnetic particles to be injected

	Back Side
	Metallica #9


Milling Details

	Milling Features
	Outer Radius (μm)
	Inner Radius (μm)
	Ion Beam Current(pA)
	Mag (kX)
	Mill time (s)
	Comments and Filenames

	 Sample 
	.8
	0
	5
	35
	5+40
	Large bump appears

	
	.5
	0
	5
	35
	5+5+5
	Offset to mill bump

	
	.8
	0
	5
	35
	10+10
	This time on center

	
	.3
	0
	5
	35
	2+2+2
	Another off center etch


	

	.3
	0
	5
	20
	2+2
	This level it out a little



	

	.19
	0
	5
	20
	.5 x 
	After many well placed 

	
	.75
	0
	5
	20
	5
	Seems cleaner 

	
	.85
	0
	5
	20
	5+5+5+2+2s
	Some gold left but we will stop 

	

	.9
	0
	5
	20
	2
	Still some gold left but we gave in fear of having nitride left at the bottom

	
	4
	3.9
	5
	25
	10
	Ring for ref, but a little long

	1st ref
	0.020
	0
	5
	65
	10
	

	2nd ref
	0.020
	0
	5
	65
	6
	A little oval

	3rd ref
	0.020
	0
	5
	65
	3
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	C83_001_tilt_45_overview

	
	
	
	
	
	
	C83_002_r1

	
	
	
	
	
	
	C83_003_r2

	
	
	
	
	
	
	C83_004_r3

	
	
	
	
	
	
	C83_005_sample

	
	
	
	
	
	
	

	
	
	
	
	
	
	C_006_overview_1

	
	
	
	
	
	
	C_007_overview_2

	
	
	
	
	
	
	C_008_overview_3  

	
	
	
	
	
	
	

	
	
	
	
	
	
	C_009_back_ref    (r1)

	
	
	
	
	
	
	C_010_back_r2

	
	
	
	
	
	
	C_011_back_r3

	
	
	
	
	
	
	C_012_back_overview (THE PICTURE!)

	
	
	
	
	
	
	



Membrane Parameters

	Size (μm)
	200x200

	Thickness (nm)
	100

	Frame size( mm)
	5x5

	Frame thickness (μm)
	200


Dwell: 1.0 μs

Overlap: 50%

Name:  C83








Operator Sample Ramon


Operator Refholes Bill

















wschlott
Page 1
9/8/2005
E:\data\sample_processing_general\equipment_notes\FIB_guide\FIB_parameter_table.doc

