
[image: image1.jpg]



FIB Fourier Transform Mask Parameter Table
Saturday, September 3, 2005 

200x200 um window

Structure details: Structure details: Triple reference hole 

Structure for looking at bio-magnetic particles

	Feature
	Diameter  (μm)

	
	Target
	Actual

	Sample Aperture
	1.5
	D=1498

	
	
	

	1st Reference aperture: top
	50nm
	D=107x128

	1st Reference aperture: bottom
	
	D=74x85

	2nd Reference aperture: top
	50nm
	D=116x112

	2nd Reference aperture: bottom
	
	D=73x60

	3Rd Reference aperture: top
	50nm
	D=101x95

	3rd Reference aperture: bottom
	
	D=40x38

	
	
	


Metal Film Details:
	Front Side
	Bio-magnetic particles to be injected

	Back Side
	Metallica #9


Milling Details

	Milling Features
	Outer Radius (μm)
	Inner Radius (μm)
	Ion Beam Current(pA)
	Mag (kX)
	Mill time (s)
	Comments and Filenames

	 Sample 
	0.8
	0
	6
	35
	50
	

	
	0.37
	0
	6
	35
	5
	Off center

	
	0.75
	0
	6
	35
	5
	center

	
	0.70
	0
	6
	35
	5
	

	

	0.4
	0
	6
	35
	2+3+3
	Off center

	

	0.85
	0
	6
	35
	 5+5
	center

	
	0.11
	0
	6
	35
	0.5*3
	 Off center shifting

	
	0.77
	0
	6
	35
	2*3
	 center

	

	0.50
	0
	6
	35
	0.5*3
	  

	
	
	
	
	
	
	… And some more cleaning …

	
	4.3
	4.2
	6
	
	3+3
	Ring for Refholes

	
	
	
	6
	
	3
	3 boxes for Refholes

	1st ref
	0.020
	0
	6
	65
	12
	

	2nd ref
	0.020
	0
	6
	65
	7
	

	3rd ref
	0.020
	0
	6
	65
	3
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	C84_001_tilt_45_overview

	
	
	
	
	
	
	C84_002_r1

	
	
	
	
	
	
	C84_003_r2

	
	
	
	
	
	
	C84_004_r3

	
	
	
	
	
	
	C84_005_sample

	
	
	
	
	
	
	

	
	
	
	
	
	
	C84_006_overview_1

	
	
	
	
	
	
	C84_007_overview_2

	
	
	
	
	
	
	C84_008_overview_3  

	
	
	
	
	
	
	

	
	
	
	
	
	
	C84_009_back_r1

	
	
	
	
	
	
	C84_010_back_r2


	
	
	
	
	
	
	C84_011_back_r3

	
	
	
	
	
	
	C84_012_back_overview

	
	
	
	
	
	
	C84_013_back_overview_15kV



Membrane Parameters

	Size (μm)
	200x200

	Thickness (nm)
	100

	Frame size( mm)
	5x5

	Frame thickness (μm)
	200


Dwell: 1.0 μs

Overlap: 50%

Name:  C84








Operator bill





This has a patch of gold in the center of the sample hole.  The reference holes are fairly round and the smallest reference hole is ~40nm and round











wschlott
Page 2
9/8/2005
E:\data\sample_processing_general\equipment_notes\FIB_guide\FIB_parameter_table.doc

