
[image: image1.jpg]



FIB Fourier Transform Mask Parameter Table
Saturday, September 3, 2005 

200x200 um window

Structure details: Structure details: Triple reference hole 

Structure for looking at whole biological organism

	Feature
	Diameter  (μm)

	
	Target
	Actual

	Sample Aperture
	3.0
	D=2990

	
	
	

	1st Reference aperture: top
	150nm
	D=186x161

	1st Reference aperture: bottom
	
	D=135x92

	2nd Reference aperture: top
	100nm
	D=150x130

	2nd Reference aperture: bottom
	
	D=90x79

	3Rd Reference aperture: top
	50nm
	D=114x60

	3rd Reference aperture: bottom
	
	D=50x36

	5500
	
	


Metal Film Details:
	Front Side
	organism to be injected

	Back Side
	Metallica #9


Milling Details

	Milling Features
	Outer Radius (μm)
	Inner Radius (μm)
	Ion Beam Current(pA)
	Mag (kX)
	Mill time (s)
	Comments and Filenames

	 Sample 
	1.55
	0
	4
	25
	30+30+30+30+30+30+20
	

	
	.3
	0
	4
	25
	
	

	
	1.55
	0
	4
	25
	
	

	
	
	
	
	
	
	Some small gold dots remain

	ring
	5.9
	5.7
	4
	
	5
	Ring for Refholes

	box
	.4x.4

	
	4
	
	2
	3 boxes for Refholes  (a little long)

	1st ref
	0.020
	0
	4
	65
	35
	

	2nd ref
	0.020
	0
	4
	65
	15
	

	3rd ref
	0.020
	0
	4
	65
	3
	This was still as t

	
	
	
	
	
	
	

	
	
	
	
	
	
	C85_001_overview_tilt45

	
	
	
	
	
	
	C85_002_r1

	
	
	
	
	
	
	C85_003_r2

	
	
	
	
	
	
	C85_004_r3

	
	
	
	
	
	
	C85_005_sample

	
	
	
	
	
	
	C85_0051_sample_bright

	
	
	
	
	
	
	C85_006_overview_1

	
	
	
	
	
	
	C85_007_overview_2

	
	
	
	
	
	
	C85_008_overview_3  

	
	
	
	
	
	
	

	
	
	
	
	
	
	C85_009_back_r1

	
	
	
	
	
	
	C85_010_back_r2

	
	
	
	
	
	
	C85_011_back_r3

	
	
	
	
	
	
	C85_012_back_overview

	
	
	
	
	
	
	



	Membrane Parameters

Size (μm)
	200x200

	Thickness (nm)
	100

	Frame size( mm)
	5x5

	Frame thickness (μm)
	200


Dwell: 1.0 μs

Overlap: 50%

Name:  C85








Operator bill


Small puncture in the nitride.


The reference holes aren’t perfect, but they are small.











wschlott
Page 1
9/8/2005
E:\data\sample_processing_general\equipment_notes\FIB_guide\FIB_parameter_table.doc

