
[image: image1.jpg]



FIB Fourier Transform Mask Parameter Table
Saturday, September 3, 2005 

200x200 um window

Structure details: Structure details: Triple reference hole 

Structure for looking at whole biological organism

	Feature
	Diameter  (μm)

	
	Target
	Actual

	Sample Aperture
	3.0
	D=2900

	
	
	

	1st Reference aperture: top
	150nm
	D=200x195

	1st Reference aperture: bottom
	
	D=104x101

	2nd Reference aperture: top
	100nm
	D=154x171

	2nd Reference aperture: bottom
	
	D=87x96

	3Rd Reference aperture: top
	50nm
	D=117x116

	3rd Reference aperture: bottom
	
	D=44x47

	5500
	
	


Metal Film Details:
	Front Side
	organism to be injected

	Back Side
	Metallica #9


Milling Details

	Milling Features
	Outer Radius (μm)
	Inner Radius (μm)
	Ion Beam Current(pA)
	Mag (kX)
	Mill time (s)
	Comments and Filenames

	 Sample 
	1.5
	0
	6
	35
	10+100
	Two islands aren’t milling

	
	.3
	0
	6
	25
	5+5
	Does more cleaning

	
	1.55
	0
	6
	25
	30+30+30
	Ramon did a lot of cleaning up.   He used quick mills   0.1 to few seconds and small circles that he drew and moved around to  remove the  islands of Au that would not mill always.  Only one small section near the edge broke through.   This set along took 1.5 hours 

	
	
	
	
	
	
	Some small gold dots remain

	ring
	5.9
	5.7
	6
	
	5
	Ring for Refholes

	box
	.4x.4

	
	6
	
	2
	3 boxes for Refholes  (a little long)

	1st ref
	0.020
	0
	6
	65
	35
	Looks good

	2nd ref
	0.020
	0
	6
	65
	15
	

	3rd ref
	0.020
	0
	6
	65
	3
	This was still as t

	
	
	
	
	
	
	C86_000_sample_tilt52

	
	
	
	
	
	
	C86_001_overview_tilt45

	
	
	
	
	
	
	C86_002_r1

	
	
	
	
	
	
	C86_003_r2

	
	
	
	
	
	
	C86_004_r3

	
	
	
	
	
	
	C86_005_sample

	
	
	
	
	
	
	C86_0051_sample_bright

	
	
	
	
	
	
	C86_006_overview_1

	
	
	
	
	
	
	C86_007_overview_2

	
	
	
	
	
	
	C86_008_overview_3  

	
	
	
	
	
	
	C86_0061_carboncontamination

	
	
	
	
	
	
	C86_009_back_r1

	
	
	
	
	
	
	C86_010_back_r2

	
	
	
	
	
	
	C86_011_back_r3

	
	
	
	
	
	
	C_012_back_overview

	
	
	
	
	
	
	C_013_back_overview_15kV



Membrane Parameters

	Size (μm)
	200x200

	Thickness (nm)
	100

	Frame size( mm)
	5x5

	Frame thickness (μm)
	200


Dwell: 1.0 μs

Overlap: 50%

Name:  C86








Operator ramon





Small puncture in them sample hole membrane











wschlott
Page 1
9/8/2005
E:\data\sample_processing_general\equipment_notes\FIB_guide\FIB_parameter_table.doc

