
FIB Fourier Transform Mask Parameter Table
Structure details:  with threereference holes

Date: jan 22 2006

	Feature
	Radius  (μm)

	
	Target
	Actual

	Sample Aperture
	800
	

	
	
	

	1st aperture: top
	 
	208x148

	1st aperture: bottom
	80
	162x70

	2nd aperture: top
	
	202x118

	2nd aperture: bottom
	50
	127x48

	3rd aperture: top
	
	208x101

	3rd aperture: bottom
	40 nm
	117x48

	Ref hole center to object center
	2500
	


Metal Film Details:
	Front Side
	5092  (soft layers)

	Back Side
	Metallica #12 (900nmAu)

	
	


Milling Details

	Milling Features
	Outer Radius (μm)
	Inner Radius (μm)
	Ion Beam Current(pA)
	Mag (kX)
	Mill time (s)
	Comments and Filenames

	Object
	.5
	0
	10
	50
	18
	Looks good

	
	.47 
	0
	10
	50
	3+3+3
	

	Ref 1
	0.02
	0
	10
	65
	30s
	Oval and large

	Ref2
	0.02
	0
	10
	65
	20
	oval

	Ref 3
	0.02
	0
	10
	65
	13s
	

	
	
	
	
	
	
	C97_001_tilt_overview_45

	
	
	
	
	
	
	C97_002_overview_5kV

	
	
	
	
	
	
	C97_003_overview_membrane

	
	
	
	
	
	
	C97_004_back_over  (12kv)

	
	
	
	
	
	
	C97_005_back_R1

	
	
	
	
	
	
	C97_006_back_R2

	
	
	
	
	
	
	C97_007_back_R3 

	
	
	
	
	
	
	C97_008_back_over_5kV

	
	
	
	
	
	
	

	
	
	
	
	
	
	

	
	
	
	
	
	
	



Membrane Parameters

	Size (μm)
	~200x200

	Thickness (nm)
	100

	Frame size( mm)
	5x5

	Frame thickness (μm)
	200


Dwell: 1.0 μs

Overlap: 50%

Name:  C97








Operator:Schlotter


Cross Ref to Lab notebook: v8 p53


Comments: .











wschlott
Page 1
1/22/2006
E:\data\sample_processing_general\equipment_notes\FIB_guide\FIB_parameter_table.doc

